Safety Inspection

Date: _____________Walk through By: _______________________________________

CORRECTIVE ACTION RECOMMENDATIONS

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Safety Issue					OK		Needs Attention	NA

Housekeeping

- Walking Surfaces				____		____			____

- Stairs					____		____			____

- Aisles, Doors, Windows			____		____			____

- Material and Equipment Storage		____		____			____

- Means of Egress Clear			____		____			____

Fire Protection

- Extinguishers (monthly/annual checks)	____		____			____

- Sprinkler Riser (monthly/annual checks)	____		____			____

- Flammable Material Storage

(see specific section)			____		____			____

- Emergency Evacuation Plan/Maps	____		____			____

- Hot Work Permits When Needed		____		____			____

- Electrical in Conduit and

Insulation/Grounding Sound		____		____			____

Safety Issue					OK		Needs Attention	NA

Personal Protective Equipment

- Hazard Assessment Done			____		____			____

- Necessary Equipment Used

-Gloves					____		____			____

-Eyewear				____		____			____

-Footwear				____		____			____

-Respiratory Protection		____		____			____

-Hearing Protection			____		____			____

-Work Clothing			____		____			____

Power Hand Tools

- Electrical Ground/Insulation 		____		____			____

- Guards in Place				____		____			____

- “Deadman” Switches Functional		____		____			____

- Fittings/Connections Sound		____		____			____

- Ground Assurance Program		____		____			____

- Proper Storage and Use			____		____			____

- Interlocks Functional			____		____			____

Machinery

- Transmission Guarding			____		____			____

- Tool Rest/Tongue Guards 			____		____			____

- Electrical in Conduit and

Insulation/Grounding Sound		____		____			____

- Point of Operation Guards 		____		____			____

- Proper Emergency Stops			____		____			____

- Hot Surfaces Guarding			____		____			____

- Hydraulic Hoses/Connections 		____		____			____

- Lock-out Capable at Machine/Labeled	____		____			____

- Splash/Chip Guards			____		____			____

- Bit/Die/Tooling Condition			____		____			____

- Adequate Employee Training		____		____			____

- Safety Interlocks/Limit Switches		____		____			____

- Magnetic Start Switches			____		____			____

- Secure Mounting/Foundation		____		____			____

- Safeguarding Systems (e.g., two hand

controls)				____		____			____

11.  Brakes/Clutches				____		____			____

12.  Preventive Maintenance			____		____			____

Electrical

- Wiring Condition				____		____			____

- Insulation/Grounding Sound		____		____			____

- Ground Assurance Followed		____		____			____

- Electrical in Conduit/Covers in Place	____		____			____

- Panels/ Breakers Labeled			____		____			____

- Panel Clearance 				____		____			____

- Lock-out Capability			____		____			____

- No Overuse of Circuits			____		____			____

Safety Issue					OK		Needs Attention	NA

Chemical Handling

- SDSs Available				____		____			____

- Labels on Piping, Primary

and Secondary Containers			____		____			____

- Proper Protective Equipment Use		____		____			____

- Users Trained				____		____			____

- Proper Ventilation				____		____			____

- Proper Storage and Housekeeping	____		____			____

- Labels on Cabinets			____		____			____

- Flammables

-Grounding/Bonding			____		____			____

-No Smoking Signs			____		____			____

-Proper Storage (e.g., Cabinets)	____		____			____

-Safety Cans for Waste Materials	____		____			____

Life Safety

- Emergency Lighting/Back-up Power	____		____			____

- Exits Identified/Lighted Signs		____		____			____

- Emergency Evacuation Maps and

Training					____		____			____

- Means of Egress Clear/Adequate

Numbers					____		____			____

- Alarms Functional				____		____			____

- First Aid/CPR Trained People Available 	____		____			____

- Emergency Action Plan in Place		____		____			____

Ladders/Fall Protection

- Ladders

-Design/Condition				____		____			____

-Use/Training				____		____			____

- Guardrails/ Midrails/ Toeboards

on Work Platforms			____		____			____

- Fall Arrest/Restraint in Use Over 6’ 	____		____			____

- “Man-lift”

-Waist Belts in Use				____		____			____

-Use/Training 				____		____			____

Ergonomics

- Proper Workstation Design		____		____			____

- Excessive Weights/Lifting			____		____			____

- Excessive Reaches				____		____			____

- Excessive Repetition			____		____			____

- Excessive Twisting				____		____			____

- Material Handling Equipment

Used (Scissor Lifts, Conveyors,

Adjustable Height Work Surfaces)	____		____			____