Scope and Application

This procedure applies to any work where “Hot Work”  i.e., welding, torch cutting, grinding, brazing, and other spark or heat producing tasks) in an area not designated and designed to prevent fires or other hazards associated with this work.

Purpose and Scope

The purpose of this procedure is to establish safe hot work practices to reduce/eliminate personal injury and potential fire and explosion hazards.

Implementation

Implementation of this program is the responsibility of the Enter Position.

Procedure

1.0 Requirements

A.	Preparation

1.	Notify area management and co-workers of the intention to perform hot work activities.

2.	Issue Hot Work Permit for all hot work operations. See Appendix A.

3.	Perform housekeeping in hot work areas to remove or cover all combustible or flammable materials.

4.	Cover all wood planking, scaffolds, wooden forms, and other combustible material that cannot be removed with fire blankets or other suitable non-combustible material to contain slag and sparks.

5.	Provide a fire watch when performing hot work in areas where fires might develop.

a)	Continue the watch for 60 minutes after completion of hot work.

6.	Require that at least one 10 pound ABC fire extinguisher is available at each hot work location, and area affected.

7.	Position welding curtains to protect workers from welding arc rays.

8.	Provide metal buckets or containers for disposal of slag, electrode stubs, and other hot work debris.

9.	Check for flammable or explosive gases or vapors and, if necessary, purge and or inert the atmosphere before any hot work in or on containers or pipelines.

a)	Refer to “Confined Space Entry” for ventilation and other requirements for hot work in confined spaces.

B.	Personal Protective Equipment (PPE)

1.	Require the provision and use of the following personal protective equipment for hot work operations in accordance with the Hazard Assessment completed for the task

a)	Use the Risk Management Center’s Behavior Based Safety application (Job Hazard Analysis… JHA) to create a Hazard Assessment and JHA as needed:

- Proper eye protection, e.g. welding hood with proper shaded lens

- Cutting or burning goggles for torch cutting

- Full face shields for grinding with safety glasses.

- See “Personal Protective Equipment” program for proper lens shades.

b)	Safety glasses must be worn under hoods and face shields when grinding.

c)	Appropriate gloves for task being performed.

d)	Fire resistant welding jackets and leathers.

e)	High top leather boots, tight to pant leg.

f)	Clothing free of oil and grease, and non-synthetic fiber.

C.	Torch Cutting Operations

1.	Inspect torches and hoses at the beginning of each shift for leaking shutoff valves, damaged hoses and couplings, and tip connections.

a)	Tag defective torches and remove from service until properly repaired.

2.	Require that oxygen and fuel gas regulators and valves be in proper working order, shut off when done working with them and hose pressure relieved

3.	Light torches with strikers or other approved means, never with matches or lighters.

4.	Keep oxygen cylinders and fittings free of oil and grease.

5.	Require that oxygen and fuel gas hoses are easily distinguishable from each other and are not interchangeable.

a)	Do not use a single hose having more than one gas passage.

6.	Provide flashback arrestors/check valves on all oxygen and fuel gas torches.

7.	Remove hose that shows evidence of flashback or damage from service and repair or discard.

8.	Refer to “Confined Space Entry” for ventilation and other requirements for hot work in confined spaces.

9.	Do not cover more than 4 inches out of 12 inches (10 cm out of 30 cm) of hose with tape when taping parallel lengths of hose to prevent tangling.

10.	Use only hose couplings that cannot be unlocked or disconnected by means of a straight pull.

11.	Require that the boxes used to store hose be ventilated.

12.	String hoses overhead using non-metallic hangers or otherwise position them to keep clear of walkways, ladders, and stairways; or damage.

13.	Provide proper ventilation and respiratory equipment when cutting zinc coated, or other hazardous coating or alloy that could contain such materials as cadmium, , chromium,  mercury, lead, arsenic or other toxic material (See “Respiratory Protection).

a)	Do a pre-assessment as needed to determine hazards and a Hazard Assessment to specify needed protective measures and PPE.

14.	Shut off cylinder valves and bleed regulators and hoses when done a task and never leave unattended.

D.	Cylinder Handling

1.	Secure cylinders in an upright position at all times.

2.	Assure tags are used indicating, full, in use, or empty.

3.	Segregate materials based on hazards (e.g., Fuel Gas and Oxygen cylinders must be separated at least 20 feet or with a fire wall).

a)	Refer to the Safety Data Sheet (SDS) for the materials.

4.	Replace and secure valve safety caps when cylinders are not in use

5.	Close valves, remove regulators, and replace valve safety caps before moving cylinders.

6.	Move cylinders by use of a cylinder cart with securing device.

a)	Never “hand roll” cylinders; always use a cart that secures the cylinders.

b)	Never lay cylinders on their sides and roll them.

7.	Do not use magnets, chokers, or slings to hoist cylinders. Use a cradle or bottle rack designed and constructed for hoisting purposes.

8.	Use only warm, not boiling, water to thaw cylinders and valves.

9.	Provide bottle carts, chains, or other steadying devices to keep cylinders from being knocked over while in use.

10.	Assure all cylinders are marked with container labels with either the chemical or trade name, and hazards of the contents, and that a current SDS is on hand, and all staff are trained and current in their Hazard Communication training for the material.

11.	Do not attempt to refill or mix gases in a cylinder.

12.	Require all cylinders to be equipped with a handle or wrench so that they can be turned off immediately if necessary.

13.	Stand to the side of the outlet and open valve slightly and close immediately prior to connecting a regulator to a cylinder.

a)	Never crack a valve near ignition sources.

14.	Position cylinders where they will not be struck by sparks, slag, or flame, and where they cannot become part of an electrical circuit.

15.	Never take gas cylinders into confined spaces.

16.	Do not strike an electrode against a cylinder to strike an arc.

17.	Do not use hammers or wrenches to open cylinders having fixed hand wheels.

18.	Do not use acetylene at a pressure in excess of 15-psi gauge pressure, or 30 psi absolute.

19.	Store cylinders in accordance with SDS instructions and local, state and federal requirements.

a)	Don’t store where they will not be subjected to sources of heat.

20.	Separate oxygen cylinders in storage from fuel gas cylinders and combustible materials by at least 20 feet, or by a non-combustible barrier at least 5 feet high having a fire resistance rating of at least one-half hour.

21.	Provide proper signs at storage areas, such as “DANGER – FLAMMABLE” or “No Sources of Ignition, Smoking or Open Flames.”

22.	Keep storage areas free of vegetation, trash, and other combustible materials.

23.	Remove regulators and replace valve safety caps when storing cylinders or when cylinders will be left unattended.

E.	Welding Operations

1.	Use only electrode holders that are specifically designed for arc cutting and welding and are of a sufficient capacity to safely handle the maximum rated 	current required by the electrodes.

2.	Require that electrode holders be properly insulated.

3.	Remove electrodes from the holders and placeholders so they cannot make contact with people or conducting objects when leaving holders unattended.

4.	Require that the welding machine frame be properly grounded.

5.	Welding units store electrical current; follow the Lockout Program and only work on equipment if properly trained, and authorized by the organization.

6.	Shut off the welding machine at the end of each shift or when the machine is to be moved.

7.	Require that the welding/cutting/ground cables meet the following requirements:

a)	Cables must be completely insulated, flexible, and capable of handling the maximum current requirements of the work in progress.

b)	Cables must be free from repair or splices for a minimum distance of 10 feet from the electrode holder, except when standard insulated connectors or splices with insulating value equal to the cable are used.

c)	Insulated connectors of a capacity at least equal to that of the cable shall be used for splices. If connecting lugs are used, they must be completely and substantially insulated.

d)	A ground cable must have a safe current carrying capacity at least equal to the maximum output capacity of the unit or units that it services.

e)	Never attach a ground cable to a pipeline containing gases or flammable liquids.

f)	String all cables overhead with non-metallic hangers or otherwise position to keep clear of walkways, ladders, and stairways.

g)	Immediately remove all damaged and worn cable from service until properly repaired.

2.0	Documentation Requirements

A.	The Training Tracking application of the Risk Management Center is to be used for documenting all training.

B.	All incident investigations involving near misses or incidents are to be documented using the Incident Track application of the Risk Management Center.

C.	All classes, worker briefings, tool box briefings, audit result briefings and incident investigation briefings involving near misses or incidents are to be documented.

D.	Hot Work Permits are to be retained for one year in the Risk Management Center.

E.	The Risk Management Center is to be used to document all information including the following:

| Documents | Risk Management Center Location |
| --- | --- |
| Written Hot Work Program | My ContentTM |
| Training Documentation including: - Classroom training and training course completed - Sign-in sheets - Quizzes - Skills evaluations - Operator Certificates | Training TrackTM application |
| Pre-shift Inspection Checklists | My ContentTM |
| Safety Observations | Job Hazard Analysis/ Safety Observation ToolTM |
| Near misses | Incident TrackTM |
| Accidents and claims | Incident TrackTM |
| Supplier and manufacturer Certificates of Insurance | COI TrackTM |
| Safety Data Sheets | SDS TrackTM |

Appendix A:  Hot Work Permit

HOT WORK PERMIT

BEFORE INITIATING HOT WORK, CAN THIS JOB BE AVOIDED? IS THERE A SAFER WAY?

This Hot Work Permit is required for any operation involving open flames or heat/spark producing tasks.  This includes, but is not limited to:  Brazing, Cutting, Grinding, Soldering, Thawing Pipe, Torch Applied Roofing, and Welding.

INSTRUCTIONS					REQUIRED PRECAUTIONS CHECKLIST

A.  Verify precautions listed at right are taken or 		(  Sprinklers, hose streams, extinguishers are in

do not proceed with the work		                  	       service/operable, and in vicinity

(  Hot Work equipment in good repair... hoses, fittings,

B.  Complete and retain Permit			                       etc.

Requirements within 35 ft. (11 m) of work

C.  Issue Permit to person doing job			(  Flammable liquids, dust, lint and oily

deposits removed

(  Explosive atmosphere in area eliminated

HOT WORK BEING DONE BY:                                               	(  Floors swept clean

(  EMPLOYEE                                                                                     (  Combustible floors wet down, covered

(  CONTRACTOR (Name) ______________________________             with damp sand or fire-resistive sheets

____________________________________________________    	(  Remove other combustibles (paper, wood

DATE:____________	JOB NO.:__________________________           products, etc.) where possible.  Otherwise

protect with fire-resistive tarpaulins or

LOCATION/BUILDING & FLOOR:________________________             metal shields

____________________________________________________      (  All wall and floor openings covered

NATURE OF JOB: ____________________________________       (  Fire-resistive tarpaulins suspended beneath work

_______________________________________________________________

NAME OF PERSON DOING HOT WORK:                                                                       Work on walls or ceilings

_______________________________________________________________       	(  Construction is noncombustible and without

I verify the above location has been examined, the                               combustible covering or insulation

precautions checked on the Required Precautions                        (  Combustibles on other side of  walls moved

Checklist have been taken to prevent fire, and                                       away

permission is authorized for this work.

Work on enclosed equipment

SIGNED/SITE SAFETY REPRESENTATIVE:                 	(  Enclosed equipment cleaned of all combustibles

____________________________________________________    	(  Containers purged of flammable liquids/vapors

and inerted if needed; Confined Space Permit issued

Fire watch/Hot work area monitoring

PERMIT EXPIRES [DATE/TIME (AM/PM)]:                               	(  Fire watch will be provided during and for

____________________________________________________             60 minutes after work, including any coffee

or lunch breaks

(  Fire watch is supplied with suitable charged

extinguishers

(  Fire watch is trained in use of this equipment and

in sounding alarm

(  Alarm available

(  Fire watch  required for adjoining areas,

above, and below

(  Monitor Hot Work area periodically for 4 hours

after job is completed

Other Precautions to Be Taken                           ____________________________________________________________________________________________________________________________